## BORRI
SPARE PARTS PRICING LIST
B4033
2019
| ISSUED BY : | P. LIPPI
| APPROVED BY : | F. BEONI
| EMISSION DATE : | 2019-01-25
| VALIDITY : | 2019-12-31
| REVISION : | rev. A

## B4033 20-80KVA
Description : SPARE PARTS B4033 20-80 KVA
| Borri code | DESCRIPTION
LEVEL 1
| FN01,6TX20 | FANS FUSES
| FN0050GRX51-001 | STATIC BYPASS POWER FUSES
| FN0100GRX58 | STATIC BYPASS POWER FUSES
| FN0063GGX58 | BATTERY POWER FUSES
| FN01,6TX20 | RECT./INVERTER BRIDGES FANS PROTECTION FUSES
| FN01,6TX20 | RECT./INVERTER BRIDGES FANS PROTECTION FUSES
| FN00016,3X32 | AUXILIARY FUSES
| FN0100GRX58 | RECTIFIER POWER FUSES
| FN0160ARNH00 | RECTIFIER POWER FUSES
| FN0200ARNH00 | RECTIFIER POWER FUSES
| FN0100GRX58 | STATIC SWITCH FUSES
| FN0160ARNH00 | STATIC SWITCH FUSES
| FN0200ARNH00 | STATIC SWITCH FUSES
LEVEL 2
| PB001 | POWER SUPPLY HV
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB005 | VOLTAGE REFERENCE 3/F (VOLT-REF- 3/F)
| PB009 | SCR BRIDGES FIRING 3/F
| PB010 | STATIC SWITCH BRIDGES FIRING
| PB013 | IGBT DRIVE
| PB047 | FREE CONTACT INTERFACE
| PB113 | SCR FIRING
| PB114 | RECTIFIER CONTROL LOGIC POWER SUPPLY
| PB115 | RECTIFIER CONTROL LOGIC
| PB116 | RECTIFIER POWER SUPPLY CARD
| PB117 | RECTIFIER CONTROL LOGIC CARD
LEVEL 3
| SCRD0056A12V | RECTIFIER BRIDGE POWER MODULE
| SCRD0091A12V | RECTIFIER BRIDGE POWER MODULE
| SCRD0132A12V | RECTIFIER BRIDGE POWER MODULE
| IGD075A12V | IGBT INVERTER POWER BRIDGE
| IGD100A12V | SOST.DA IGD150A12V001 NON COMPATIBILE
| IGD200A12V | SOST.DA IGD200A12V004 NON COMPATIBILE
| IGD0300A12V | SOST.DA IGD300A12V004 NON COMPATIBILE
| IGD400A12V | SOST.DA IGD400A12V001 NON COMPATIBILE
| SCRD0056A12V | INVERTER STAT.SWITCH THYRISTORS
| SCRD0091A12V | INVERTER STAT.SWITCH THYRISTORS
| SCRD0056A12V | BYPASS STAT.SWITCH THYRISTORS
| SCRD0091A12V | BYPASS STAT.SWITCH THYRISTORS
| SCRD0132A12V | BYPASS STAT.SWITCH THYRISTORS
| VA150D230VA | FAN
| VA150D230VA | FAN
| VA150D230VA | FAN
| VA150D230VA | FAN
| CA0100U250V | AC FILTER CAPACITORS 100 MF-250 V
| CA0200U250V | AC FILTER CAPACITORS 200 MF-250 V
| CA0400U250V | AC FILTER CAPACITORS 400 MF-250 V
| CC0002U1K0V | DC CAPACITORS 2 MF 1000V
| CC0002U1K0V | DC CAPACITORS 2 MF 1000V
| CC2200U500V | DC CAPACITORS 2200 MF 500V
| CC2200U500V | DC CAPACITORS 2200 MF 500V
| CC2200U500V | DC CAPACITORS 2200 MF 500V
ADDITIONAL SPARES
| PB120 | INVERTER BRIDGE POWER CARD
| PB046 | INPUT/OUTPUT RFI FILTER
| PB040 | BATTERY RFI FILTER
| TAH0100A | HALL EFFECT CURRENT TRANSFORMER
| TAH0300A | HALL EFFECT CURRENT TRANSFORMER
| ACM7001 | OUTPUT CURRENT TRANSFORMER
| ACM7002 | OUTPUT CURRENT TRANSFORMER

## B4033 100-125 KVA
Description : SPARE PARTS B4033 100-120 KVA (up to S/N HExG29xxx)
| Borri code | DESCRIPTION
LEVEL 1
| FN01,6TX20 | RECT./INVERTER BRIDGES FANS PROTECTION FUSES
| FN0315AR | RECTIFIER POWER FUSES
| FN0315AR | STATIC SWITCH FUSES
LEVEL 2
| PB001 | POWER SUPPLY HV
| PB004 | INVERTER ACTUAL VALUE 3/F (INV-AV-3/F)
| PB005 | VOLTAGE REFERENCE 3/F (VOLT-REF- 3/F)
| PB013 | IGBT DRIVE
| PB016 | STATIC SWITCH BRIDGES FIRING
| PB034 | CLAMP CARD
| PB047 | FREE CONTACT INTERFACE
| PB116 | RECTIFIER POWER SUPPLY CARD
| PB117 | RECTIFIER CONTROL LOGIC CARD
LEVEL 3
| SCRD0161A12V | RECTIFIER POWER MODULE
| SCRD0250A12V | RECTIFIER POWER MODULE
| IGS600A12V | IGBT INVERTER POWER BRIDGE
| SCRD0161A12V | INVERTER STAT.SWITCH THYRISTORS
| SCRD0161A12V | BYPASS STAT.SWITCH THYRISTORS
| SCRD0250A12V | BYPASS STAT.SWITCH THYRISTORS
| VA150D230VA | FAN
| VA150D230VA | FAN
| CC2200U500V | DC CAPACITORS 2200 MF 500 V
| CA0200U250V | AC FILTER CAPACITORS 200 MF-250 V
| CA0200U250V | AC FILTER CAPACITORS 200 MF-250 V
ADDITIONAL SPARES
| PB046 | STATIC BY-PASS/OUTPUT RFI FILTER
| PB106 | INPUT RFI FILTER
| PB040 | BATTERY RFI FILTER
| TAH0500A | HALL EFFECT CURRENT TRANSFORMER
| ACM7002 | OUTPUT CURRENT TRANSFORMER
PB003
| TESW090 | Термореле