## STS 3P
Description : SPARE PARTS STS 3P
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38 | FUSE GI/GL 10,3X38 4A
| FS0125AR | FUSE 17.5X41.8 125A
| FS0350AR | FUSE 350A
| FS0800AR | FUSE 800A
| FS1600AR | FUSE 1600A
LEVEL 2
| PB337 | PB FP-STS STATIC SWITCH FRONT PANEL
| PB-FS1357 | PCB ISA\C
| PB-FS1358 | PCB ISF\C
| PB336 | PB INT-STS STATIC SWITCH INTERFACE
| PB-FS1360 | PCB ISL\C
| PB-FS1356 | PCB ISO\C
| PB-FS1354 | PCB ISS\C
| PB-FQ0117 | PCB RACK LOGICA ISPM-C
| PB-FS1363 | PCB ISP\C
| PB-FS1359 | PCB ISTR\C
| PB-FS0754 | PCB SGV-02C PER VENT.A 220VAC
| SCRD0091A12V | SCR DOUBLE 91A 1200V
| SCRD0250A12V | SCR DOUBLE 250A 1200V
| SCRD0500A12V | SCR DOUBLE 500A 1200V
| SCRS1718A12V001 | SCR 1718A 1200V
LEVEL 3
| VA150D230VA001 | VENT. 390MC/H DIAM.150 230V

## STS 4P
Description : SPARE PARTS STS 4P
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38 | FUSE GI/GL 10,3X38 4A
| FS0125AR | FUSE 17.5X41.8 125A
| FS0350AR | FUSE 350A
| FS0800AR | FUSE 800A
| FS1600AR | FUSIBILE 1600A
LEVEL 2
| PB337 | PB FP-STS STATIC SWITCH FRONT PANEL
| PB-FS1357 | PCB ISA\C
| PB-FS1358 | PCB ISF\C
| PB336 | PB INT-STS STATIC SWITCH INTERFACE
| PB-FS1360 | PCB ISL\C
| PB-FS1356 | PCB ISO\C
| PB-FS1354 | PCB ISS\C
| PB-FQ0117 | PCB RACK LOGICA ISPM-C
| PB-FS1363 | PCB ISP\C
| PB-FS1359 | PCB ISTR\C
| PB-FS0754 | PCB SGV-02C PER VENT.A 220VAC
| SCRD0091A12V | SCR DOUBLE 91A 1200V
| SCRD0250A12V | SCR DOUBLE 250A 1200V
| SCRD0250A12V | SCR DOUBLE 250A 1200V
| SCRD0500A12V | SCR DOUBLE 500A 1200V
| SCRD0500A12V | SCR DOUBLE 500A 1200V
| SCRS1718A12V001 | SCR 1718A 1200V
| SCRS1718A12V001 | SCR 1718A 1200V
| SCRS2086A10V001 | SCR 2086A 1000V
LEVEL 3
| VA150D230VA001 | VENT. 390MC/H DIAM.150 230V

## GALILEO 1-3 LEONARDO 6-10
Description : SPARE PARTS BORRI GALILEO 1ph ON-LINE DOUBLE CONVERTION
BORRI LEONARDO 1ph ON-LINE DOUBLE CONVERTION
BORRI GALILEO UPS 1000 VA to 3000 VA ON-LINE DOUBLE CONVERSION
Tower - Rack/Tower UPS
| BORRI Code | DESCRIPTION
LEVEL 1
| PB-ASAF2 | Input Filter Board
| PB-ASCF2 | Input Filter Board
| PB-ASAF3 (withour relay) | Output Filter Board
| PB-ASCF4 (without relay) | Output Filter Board
| PB-ASAF3 (with relay) | Output Filter Board
| PB-ASCF4 (with relay) | Output Filter Board
LEVEL 2
| PB-ASAI2 | Control Board
| PB-ASAD0 | Power Board (Driver)
| PB-ASBD0 | Power Board (Driver)
| PB-ASBD0 (0ms transfer time) | Power Board (Driver)
| PB-ASCD0 | Power Board (Driver)
| PB-ASCD0 (0ms transfer time) | Power Board (Driver)
| PB-MPAM2 | Display Board
| PB-ASAE2 | EPO Board
| PB-ASAC0 | Charger Board (24 Vdc/ 2A)
| PB-ASAC0 | Charger Board (48 Vdc/ 2A)
| PB-ASAC0 | Charger Board (72 Vdc/ 2A)
| PB-ASAE0 | Charger Board (24 Vdc/ 8.8A) (Extended charger)
| PB-ASAE0 | Charger Board (48 Vdc/ 5.6A) (Extended charger)
| PB-ASAE0 | Charger Board (72 Vdc/ 4A) (Extended charger)
| PB-ASAE1 | Charger Board (48 Vdc/ 11.2A) (Extended charger)
| PB-ASAE1 | Charger Board (72 Vdc/ 8A) (Extended charger)
BORRI LEONARDO UPS 6000 VA to 10000 VA ON-LINE DOUBLE CONVERSION
Tower - Rack/Tower UPS
| BORRI Code | DESCRIPTION
LEVEL 1
| PB-MSDF4 | Filter Board(Input)
| PB-MSEF4 | Filter Board(Input)
| PB-MSDF0 | Filter Board(Output)
| PB-MSEF0 | Filter Board(Output)
LEVEL 2
| PB-MSDI0 w/DSP | Control Board
| PB-MSDD0 | Power Board (Driver)
| PB-MSED0 | Power Board (Driver)
| PB-MSDC0 | Charger Board
| PB-MSXN0 | EPO Board
| PB-MSDM0 | Tower Display Board
| PB-MSDM3 | RT Display Board
| PB-MSEB0 | Capacitor Board

## Ingenio Compact 20-30
Description : SPARE PARTS Compact 20-30 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38-001 | AUXILIARY FUSE
| FN0063GGX77 | RECTIFIER POWER FUSES
| FN0032GH | BATTERY FUSE
| FN0063GH | STATIC SWITCH BYPASS FUSES
| FN0030GGX38 | INVERTER BRIDGE FUSES
| FN03.15GGX20 | AUXILIARY FUSE
LEVEL 2
| PB-PCBATAAI6XX | CONTROL BOARD
| PB-PCBATAAI3XX | CONTROL BOARD
| PB-PCBATAAL3XX | CHOKE BOARD
| PB-PCBATAAL4XX | CHOKE BOARD
| PB-PCBATAAL5XX | CHOKE BOARD
| PB-PCBATABP3XX | POWER BOARD
| PB-PCBATACP4XX | LCD DISPLAY
| PB-PB-4.3"LCD | LCD TOUCH DISPLAY
| PB-PCBATACI4XX | LCD PANEL INTERFACE
LEVEL 3
| PB-PCBATAAB3XX | Input AC Capacitor Board
| PB-PCBATAAB4XX | Output AC Capacitor Board
| PB-PCBATAAD3XX | Rectifier/Inverter IGBT Driver Board
| PB-PCBATAAV3XX | Rectifier/Inverter IGBT Board
| PB-PCBATAAC3XX | Input & DC/DC IGBT Board
| PB-PCBATAAV4XX | Output & Bypass SCR Driver Board
| PB-PCBATAAV3XX-01 | Rectifier/Inverter IGBT Board
| PB-PCBATAAC3XX-01 | Input & DC/DC IGBT Board
| PB-PCBATAAV4XX-01 | Output & Bypass SCR Driver Board
| PB-PCBATAAD4XX-01 | DC/DC IGBT Driver Board
LEVEL 4
| VA120D024VC003 | Fan

## B8031 FXS 10-20
Description : SPARE PARTS B8031 FXS 10-20kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FEMI017 | INPUT/OUTPUT RFI FILTER
| FN0015ATMX38 | BATTERY FUSES
| FN0030ATMX38 | BATTERY FUSES
| FNEUTRO10X38 | BATTERY NEUTRAL TUBE
| FN0025GGX51 | INPUT FUSES
| FN0032GGX51 | INPUT FUSES
| FNEUTRO14X51 | INPUT NEUTRAL TUBE
| FN0040GRX51 | BYPASS FUSES
| FN0050GRX51-001 | BYPASS FUSES
LEVEL 2
| PB219 | BACK PANEL
| PB432 | POWER SUPPLY
| PB398 | MAIN CONTROL LOGIC
| PB463 | PB POWER MODULE 6,5KVA COMPLETA
| PB464 | PB POWER MODULE 3,3KVA COMPLETA
| PB193 | FEED-BACK RESISTORS
| PB211 | SYSTEM CONTROL PANEL
| PB216 | EXTERNAL INPUT PS & BYPASS SWITCH
| PB221 | FILTER AND SWITCHES INTERFACE
| PB363 | IGBT DRIVER CARD (BOOSTER)
| PB363 | IGBT DRIVER CARD (INVERTER)
LEVEL 3
| SA-M31 | AC-AC POWER CONVERSION ASSEMBLY
| SA-M51 | AC-AC POWER CONVERSION ASSEMBLY
| VA080D024VC001 | AUXILIARY FAN 160mc/h
| VA120D024VC001 | AUXILIARY FAN 160mc/h
SPECIAL AND OPTIONAL SPARE
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE

## B8033 FXS 10-20
Description : SPARE PARTS B8033 FXS 10-20kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FEMI018 | INPUT/OUTPUT RFI FILTER
| FN0015ATMX38 | BATTERY FUSES
| FN0030ATMX38 | BATTERY FUSES
| FNEUTRO10X38 | BATTERY NEUTRAL TUBE
| FN0025GGX51 | INPUT FUSES
| FN0032GGX51 | INPUT FUSES
| FNEUTRO14X51 | INPUT NEUTRAL TUBE
| FN0040GRX51 | BYPASS FUSES
| FN0050GRX51-001 | BYPASS FUSES
LEVEL 2
| PB187 | BACK PANEL
| PB432 | POWER SUPPLY
| PB398 | MAIN CONTROL LOGIC
| PB463 | PB POWER MODULE 6,5KVA COMPLETA
| PB464 | PB POWER MODULE 3,3KVA COMPLETA
| PB193 | FEED-BACK RESISTORS
| PB211 | SYSTEM CONTROL PANEL
| PB216 | EXTERNAL INPUT PS & BYPASS SWITCH
| PB220 | FILTER AND SWITCHES INTERFACE
| PB363 | IGBT DRIVER CARD (BOOSTER)
| PB363 | IGBT DRIVER CARD (INVERTER)
LEVEL 3
| SA-M31-L | AC-AC POWER CONVERSION ASSEMBLY
| SA-M51-L | AC-AC POWER CONVERSION ASSEMBLY
| VA080D024VC001 | AUXILIARY FAN 160mc/h
| VA120D024VC001 | AUXILIARY FAN 160mc/h
SPECIAL AND OPTIONAL SPARE
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE

## B8033 FXS 30-60
Description : SPARE PARTS B8033 FXS 3300 30-60 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FEMI024 | INPUT/OUTPUT RFI FILTER
| FEMI051 | INPUT/OUTPUT RFI FILTER
| FN0100GRX58 | INPUT FUSES
| FN0125ARX58 | INPUT FUSES
| FNEUTRO22X58 | INPUT NEUTRAL TUBE
| FN0100GRX58 | BYPASS FUSES
| FN0125ARX58 | BYPASS FUSES
LEVEL 2
| PB243 | BACK PANEL PHASE T
| PB244 | BACK PANEL PHASE S
| PB292 | BACK PANEL PHASE R
| PB432 | POWER SUPPLY
| PB398 | MAIN CONTROL LOGIC
| PB521 | MAIN CONTROL LOGIC
| PB382 | POWER MODULE BOARD
| PB519 | POWER MODULE BOARD
| PB193 | FEED-BACK RESISTORS
| PB211 | SYSTEM CONTROL PANEL
| PB216 | EXTERNAL INPUT PS & BYPASS SWITCH
| PB363 | IGBT DRIVER CARD (BOOSTER)
| PB363 | IGBT DRIVER CARD (INVERTER)
LEVEL 3
| SCRD0091A12V | RECTIFIER POWER MODULE
| SCRD0091A12V | INVERTER AND BYPASS STATIC SWICH
| IGD075A12V | IGBT RECTIFIER
| IGS150A12V002 | IGBT RECTIFIER
| IGS150A12V003 | IGBT RECTIFIER
| IGD200A12V003 | IGBT INVERTER POWER BRIDGE
LEVEL 4
| SA-M131 | AC-AC POWER CONVERSION ASSEMBLY
| SA-M180 | AC-AC POWER CONVERSION ASSEMBLY
| VA120D230VA | AUXILIARY FAN 160mc/h
SPECIAL AND OPTIONAL SPARE
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE

## B8033 FXS 80-100
Description : SPARE PARTS B8033 FXS 80-100 KVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0002GGX38 | AUXILIARY FUSE
| FN0200AR | RECTIFIER POWER FUSES
| FN0250AR | BATTERY FUSE
| FS0200AR | STATIC SWITCH BYPASS FUSES
| FN0150AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB416 | BACK PANEL CARD
| PB411 | RECTIFIER POWER CARD
| PB412 | INVERTER POWER CARD
| PB414 | STATIC SWITCH POWER CARD
| PB481 | MAIN CONTROL LOGIC
| PB432 | POWER SUPPLY CARD
| PB363 | IGBT DRIVER RECTIFIER
| PB363 | IGBT DRIVER INVERTER
| PB491 | PRECHARGE THYRISTOR CARD
| PB211 | SYSTEM CONTROL PANEL
| PB417 | UPS INTERFACE CARD
LEVEL 3
| SA-M260 | RECTIFIER + INVERTER ASSEMBLY
| SA-M330 | RECTIFIER + INVERTER ASSEMBLY
| SA-M331-0 | STATIC SWITCH ASSEMBLY
| SCR+D132A12V | BATTERY MODULE
| SCRD0132A12V001 | INVERTER STATIC SWITCH THYRISTORS
| SCRD0132A12V001 | BYPASS STAT.SWITCH THYRISTORS
| MOCU300A12V | RECTIFIER POWER MODULE
| IGD300A12V003 | IGBT INVERTER POWER BRIDGE
| VA150D230VA | INDUCTOR FAN
| VA150D230VA | STATIC SWITCH FAN
| VA150D230VA | RECTIFIER AND INVERTER FAN
| VA080D230VA | RECTIFIER AND INVERTER FAN
| VA080D024VC001 | LOGIC MODULE FAN
| CC3900U500V001 | DC CAPACITORS 3900uF 500V
| CC3900U500V001 | DC CAPACITORS 3900uF 500V
| CA0100U250V001 | AC FILTER CAPACITORS 100uF-250V
| CA0100U250V001 | AC FILTER CAPACITORS 100uF-250V
| IT3230A125A001 | INPUT / BYPASS POWER CONTACTOR
| IT3230A145A | INPUT / BYPASS POWER CONTACTOR
ADDITIONAL SPARES
| FEMI048 | INPUT/OUTPUT RFI FILTER
| FEMI053 | INPUT/OUTPUT RFI FILTER
| PB440 | INPUT RFI FILTER
| PB487 | BATTERY RFI FILTER
| TAH0300A003 | HALL EFFECT CURRENT TRANSFORMER
| TA300/0,15A | CURRENT TRANSFORMER
| PB251 | SERIAL INTERFACE
| PB247 | SNMP INTERFACE CARD

## Ingenio 30-50
Description : SPARE PARTS Ingenio 30-50 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FEMI024 | INPUT/OUTPUT RFI FILTER
| FEMI051 | INPUT/OUTPUT RFI FILTER
| FN0100GRX58 | INPUT FUSES
| FN0125ARX58 | INPUT FUSES
| FNEUTRO22X58 | INPUT NEUTRAL TUBE
| FN0100GRX58 | BYPASS FUSES
| FN0125ARX58 | BYPASS FUSES
LEVEL 2
| PB243 | BACK PANEL PHASE T
| PB244 | BACK PANEL PHASE S
| PB292 | BACK PANEL PHASE R
| PB432 | POWER SUPPLY
| PB398 | MAIN CONTROL LOGIC
| PB521 | MAIN CONTROL LOGIC
| PB382 | POWER MODULE BOARD
| PB519 | POWER MODULE BOARD
| PB193 | FEED-BACK RESISTORS
| PB579 | DISPLAY
| PB593 | LED CARD
| PB216 | EXTERNAL INPUT PS & BYPASS SWITCH
| PB363 | IGBT DRIVER CARD (BOOSTER)
| PB363 | IGBT DRIVER CARD (INVERTER)
LEVEL 3
| SCRD0091A12V | RECTIFIER POWER MODULE
| SCRD0091A12V | INVERTER AND BYPASS STATIC SWICH
| IGD075A12V001 | IGBT RECTIFIER
| IGS150A12V002 | IGBT RECTIFIER
| IGS150A12V003 | IGBT RECTIFIER
| IGD200A12V003 | IGBT INVERTER POWER BRIDGE
LEVEL 4
| SA-M131 | AC-AC POWER CONVERSION ASSEMBLY
| SA-M180 | AC-AC POWER CONVERSION ASSEMBLY
| VA120D230VA | AUXILIARY FAN 160mc/h
SPECIAL AND OPTIONAL SPARE
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE

## Ingenio PLUS 30-40
Description : SPARE PARTS Ingenio PLUS 30-40 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FEMI064 | INPUT/OUTPUT RFI FILTER
| FEMI065 | INPUT/OUTPUT RFI FILTER
| FN0100GRX58 | INPUT FUSES
| FN0063ARX51-001 | BATTERY FUSED
| FNEUTRO22X58 | INPUT NEUTRAL TUBE
| FN0100GRX58 | BYPASS FUSES
LEVEL 2
| PB432 | POWER SUPPLY
| PB692 | DR-RIS-SBC DRIVER AND FIRING CARD
| PB652 | POWER MODULE BOARD
| PB678 | POWER MODULE BOARD
| PB657 | DR-RISB-C DRIVER AND FIRING CARD+BATT
| PB686 | DISPLAY
| PB681 | MAIN CONTROL LOGIC
| PB659 | INT-UPS-ML INTERFACE CARD
| PB597 | BACK-FEED PROBE
| PB683 | FIL-HF FILTER CARD WITH FUSE
LEVEL 3
| SCRD0056A12V | RECTIFIER POWER MODULE
| SCRD0056A18V | POSITIVE/NEGATIVE BATTERY SCR
| SCRD0056A12V | INVERTER AND BYPASS STATIC SWICH
| IGD075A12V001 | IGBT RECTIFIER
| IGD075A12V001 | IGBT INVERTER POWER BRIDGE
| IGD100A12V002 | IGBT INVERTER POWER BRIDGE
LEVEL 4
| VA092D230VA | ADDED FAN
| VA120D230VA | RECTIFIER FAN
| VA120D230VA | INVERTER/STATIC SWITCH FAN

## Ingenio PLUS 60-160 UP TO H1DT
Description : SPARE PART LIST UPS INGENIO PLUS 60-160 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0016GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0032GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0160AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0200AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0250AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0315AR003 | RECTIFIER/BYPASS INPUT FUSE
| FN0400AR002 | RECTIFIER/BYPASS INPUT FUSE
| FN0125AR002 | BATTERY FUSE
| FN0160AR001 | BATTERY FUSE
| FN0200AR001 | BATTERY FUSE
| FN0250AR001 | BATTERY FUSE
| FN0315AR003 | BATTERY FUSE
| FN0125AR002 | INVERTER FUSES
| FN0160AR001 | INVERTER FUSES
| FN0250AR001 | INVERTER FUSES
| FN0315AR003 | INVERTER FUSES
LEVEL 2
| PB432 | POWER SUPPLY
| PB584 | MAIN CONTROL LOGIC
| PB491 | BRIDGE WRC
| PB577 | VOLTAGE REFERENCE
| PB598 | BOOSTER DRIVER CARD
| PB023 | RECTIFIER DRIVER CARD
| PB598 | INVERTER DRIVER CARD
| PB599 | INVERTER DRIVER CARD
| PB592 | STATIC SWITCH DRIVER CARD
| PB574 | STATIC SWITCH DRIVER CARD
| PB251 | CONV.SER/USB
| PB216 | BYPASS TEST SWITCH
| PB573 | BACK PANEL
| PB579 | DISPLAY
| PB593 | LED CARD
| PB211 | DISPLAY
| PB597 | BACK-FEED PROBE
LEVEL 3
| SCR+D091A12V | BATTERY SCR
| SCR+D132A12V | BATTERY SCR
| SCR+D172A16V001 | BATTERY SCR
| SCRD0091A12V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0132A12V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0172A16V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0132A12V001 | RECTIFIER SCR
| IGS150A12V003 | IGBT BOOSTER POSITIVE
| IGS150A12V002 | IGBT BOOSTER NEGATIVE
| MOCU300A12V | IGBT BOOSTER
| IGD200A12V003 | IGBT INVERTER
| IGD300A12V003 | IGBT INVERTER
| IGD400A12V003 | IGBT INVERTER
| IGD300A12V003 | IGBT INVERTER
| CA0100U330V | INPUT CAPACITOR FILTER
| CA0200U250V001 | INPUT CAPACITOR FILTER
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0200U250V001 | OUTPUT AC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC0002U1K0V001 | BOOSTER CLAMP CAPACITOR
| CC0002U1K0V001 | INVERTER CLAMP CAPACITOR
| CC0002U1K0V001 | INVERTER CLAMP CAPACITOR
| VC133D-KIT04 | INVERTER FAN
| VC133D-KIT005 | INVERTER FAN
| VC133D-KIT04 | RECTIFIER FAN
| VC133D-KIT005 | RECTIFIER FAN
| VA120D230VA | STATIC SWITCH FAN
| VA150D230VA | STATIC SWITCH FAN
LEVEL 4
| FEMI061 | INPUT/OUTPUT EMI FILTER
| FEMI062 | INPUT/OUTPUT EMI FILTER
| FEMI063 | INPUT/OUTPUT EMI FILTER
| PB061 | BATTERY EMI FILTER
| PB288 | BYPASS INPUT EMI FILTER
| TESW080 | RECT. \INV. \ STATIC THERMAL PROBE
| TESW090 | RECT. \INV. \ STATIC THERMAL PROBE
| TAH0300A003 | HALL EFFECT CURR. TRANSFORMER
| TAH0300A003 | BATT. HALL EFFECT CURR. TRANSFORMER
| TAH0500A001 | HALL EFFECT CURR. TRANSFORMER
| TA300/0,15A | HALL EFFECT CURR. TRANSFORMER
| TA400/0,2A | HALL EFFECT CURR. TRANSFORMER

## Ingenio PLUS 60-160 FROM TO H1
Description : SPARE PART LIST UPS INGENIO PLUS 60-160 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0016GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0032GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0160AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0200AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0250AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0315AR003 | RECTIFIER/BYPASS INPUT FUSE
| FN0400AR002 | RECTIFIER/BYPASS INPUT FUSE
| FN0125AR002 | BATTERY FUSE
| FN0160AR001 | BATTERY FUSE
| FN0200AR001 | BATTERY FUSE
| FN0250AR001 | BATTERY FUSE
| FN0315AR003 | BATTERY FUSE
| FN0125AR002 | INVERTER FUSES
| FN0160AR001 | INVERTER FUSES
| FN0250AR001 | INVERTER FUSES
| FN0315AR003 | INVERTER FUSES
LEVEL 2
| PB432 | POWER SUPPLY
| PB584 | MAIN CONTROL LOGIC
| PB491 | BRIDGE WRC
| PB577 | VOLTAGE REFERENCE
| PB598 | BOOSTER DRIVER CARD
| PB023 | RECTIFIER DRIVER CARD
| PB598 | INVERTER DRIVER CARD
| PB599 | INVERTER DRIVER CARD
| PB592 | STATIC SWITCH DRIVER CARD
| PB574 | STATIC SWITCH DRIVER CARD
| PB251 | CONV.SER/USB
| PB216 | BYPASS TEST SWITCH
| PB573 | BACK PANEL
| PB579 | DISPLAY
| PB593 | LED CARD
| PB211 | DISPLAY
| PB597 | BACK-FEED PROBE
LEVEL 3
| SCR+D091A12V | BATTERY SCR
| SCR+D132A12V | BATTERY SCR
| SCR+D172A16V001 | BATTERY SCR
| SCRD0091A12V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0132A12V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0172A16V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0091A12V001 | RECTIFIER SCR
| SCRD0132A12V001 | RECTIFIER SCR
| IGD075A12V001 | IGBT BOOSTER
| IGS150A12V003 | IGBT BOOSTER POSITIVE
| IGS150A12V002 | IGBT BOOSTER NEGATIVE
| MOCU300A12V | IGBT BOOSTER
| IGD200A12V003 | IGBT INVERTER
| IGD300A12V003 | IGBT INVERTER
| IGD400A12V003 | IGBT INVERTER
| IGD200A12V003 | IGBT INVERTER
| IGD300A12V003 | IGBT INVERTER
| CA0100U330V | INPUT CAPACITOR FILTER
| CA0200U250V001 | INPUT CAPACITOR FILTER
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0200U250V001 | OUTPUT AC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC0002U1K0V001 | BOOSTER CLAMP CAPACITOR
| CC0002U1K0V001 | INVERTER CLAMP CAPACITOR
| CC0002U1K0V001 | INVERTER CLAMP CAPACITOR
| VC133D-KIT004 | INVERTER FAN
| VC133D-KIT006 | INVERTER FAN
| VC133D-KIT004 | RECTIFIER FAN
| VC133D-KIT006 | RECTIFIER FAN
| VA120D230VA | STATIC SWITCH FAN
| VA150D230VA | STATIC SWITCH FAN
LEVEL 4
| FEMI061 | INPUT/OUTPUT EMI FILTER
| FEMI062 | INPUT/OUTPUT EMI FILTER
| FEMI063 | INPUT/OUTPUT EMI FILTER
| PB629 | INPUT/BYPASS INPUT/OUTPUT EMI FILT.
| PB061 | BATTERY EMI FILTER
| PB631 | BATTERY EMI FILTER
| PB288 | BYPASS INPUT EMI FILTER
| TESW080 | RECT. \INV. \ STATIC THERMAL PROBE
| TESW090 | RECT. \INV. \ STATIC THERMAL PROBE
| TESW100 | RECT. \INV. THERMAL PROBE
| TESW090 | STATIC THERMAL PROBE
| TAH0300A003 | HALL EFFECT CURR. TRANSFORMER
| TAH0300A003 | BATT. HALL EFFECT CURR. TRANSFORMER
| TAH0500A001 | HALL EFFECT CURR. TRANSFORMER
| TA300/0,15A | HALL EFFECT CURR. TRANSFORMER
| TA400/0,2A | HALL EFFECT CURR. TRANSFORMER

## NEW INGENIO PLUS 60-80
Description : SPARE PART LIST NEW UPS INGENIO PLUS 60-80 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0016GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0032GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0160AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0200AR001 | RECTIFIER/BYPASS INPUT FUSE
| FN0125AR002 | BATTERY FUSE
| FN0160AR001 | BATTERY FUSE
| FN0160AR001 | INVERTER FUSES
| FN0125AR002 | INVERTER FUSES
LEVEL 2
| PB432 | POWER SUPPLY
| PB681 | MAIN CONTROL LOGIC
| PB763 | POWER MODULE
| PB658 | DR-RIS-S DRIVER AND FIRING CARD
| PB657 | DR-RISB-C DRIVER AND FIRING CARD+BATT
| PB251 | CONV.SER/USB
| PB762 | INT-UPS-ML-80 INTERFACE CARD
| PB579 | DISPLAY
| PB593 | LED CARD
| PB597 | BACK-FEED PROBE
LEVEL 3
| SCR+D091A12V | BATTERY SCR
| SCRD0091A12V001 | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0091A12V001 | RECTIFIER SCR
| IGS075A07V001 | BOOSTER IGBT (GAL)
| IGS075A07V002 | BOOSTER IGBT (GAR)
| IGS150A07V001 | BOOSTER IGBT (GAL)
| IGS150A07V002 | BOOSTER IGBT (GAR)
| IGD300A12V003 | IGBT INVERTER
| IGD200A12V003 | IGBT INVERTER
| CA0200U250V001 | OUTPUT AC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| VC097D230VA002 | RECT /INVERTER STATIC SWITCH FAN
| V-ACC019 | INVERT./STATIC HEATSINK FAN CAP.
| VA150D230VA | INDUCTOR RECTIFIER/BATTERY FAN
| VA150D230VA | INVERTER/STATIC FAN
| VA150D230VA | INDUCTOR FAN
| VA080D024VC001 | POWER SUPPLY FANS
LEVEL 4
| PB629 | INPUT/BYPASS INPUT/OUTPUT EMI FILT.
| PB629 | INPUT/BYPASS INPUT/OUTPUT EMI FILT.
| PB631 | BATTERY EMI FILTER
| TAH0300A003 | RECTIFIER HALL EFFECT CURRENT TRANSFORM.

## Ingenio max 200-500
Description : SPARE PART LIST UPS INGENIO MAX 200-500 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0032GGX38 | INPUT CAPACITOR FILTER FUSE
| FN0050GGX51 | INPUT CAPACITOR FILTER FUSE
| FN0100GRX58 | INPUT CAPACITOR FILTER FUSE
| FN0400AR002 | RECTIFIER/BYPASS/OUTPUT FUSE
| FN0630AR | RECTIFIER/OUTPUT FUSE
| FN0400AR002 | BATTERY FUSE
| FS0900AR-003 | BATTERY/BYPASS FUSE
| FN0400AR002 | OUTPUT INVERTER FUSE
| FN0500AR | OUTPUT INVERTER FUSE
| FN0500AR | OUTPUT/BYPASS FUSE
| FN0800AR | RECTIFIER FUSE
| FN0630AR | BYPASS FUSE
| FN0800AR | BATTERY FUSE
| FN0800AR | BYPASS FUSE
| FS0900AR | RECTIFIER FUSE
| FS1000AR | RECTIFIER FUSE
LEVEL 2
| PB432 | POWER SUPPLY
| PB600 | MAIN CONTROL LOGIC
| PB603 | INT-UPS-3L
| PB515 | PB PS-INT2
| PB725 | MAIN CONTROL LOGIC
| PB735 | PB INT-3L-WRC
| PB742 | PB PS-800-ACP POWER SUPPLY
| PB491 | BRIDGE WRC
| PB612 | VOLTAGE REFERENCE
| PB598 | BOOSTER DRIVER CARD
| PB720 | BOOSTER DRIVER CARD
| PB023 | RECTIFIER DRIVER CARD
| PB606 | IGBT INTERFACE CARD
| PB606 | IGBT INTERFACE CARD
| PB602 | INVERTER DRIVER CARD
| PB602 | INVERTER DRIVER CARD
| PB016R | 2SCR FIRING
| PB016V | 2SCR FIRING
| PB495 | BATTERY STATIC SWITCH DRIVER CARD
| PB251 | CONV.SER/USB
| PTDTOUCHS003 | DISPLAY
| PB531 | DISPLAY LED
| PB597 | BACK-FEED PROBE
| PB216 | BYPASS TEST SWITCH
| PB690 | BYPASS TEST SWITCH
LEVEL 3
| SCR+D323A12V | BATTERY SCR
| SCR+D500A16V | BATTERY SCR
| SCRD0323A12V | BYPASS/INVERTER SCR STATIC SWITCH
| SCRD0323A12V | PRECHARGE POWER MODULES
| SCRD0500A12V | PRECHARGE POWER MODULES
| SCRD0500A12V | BYPASS/INVERTER SCR STATIC SWITCH
| IGD200A12V005 | IGBT INVERTER
| IGD200A12V005 | IGBT INVERTER
| IGD300A12V006 | IGBT INVERTER
| IGS400A12V003 | IGBT BOOSTER
| IGS400A12V004 | IGBT BOOSTER
| IGS300A07V001 | IGBT BOOSTER
| IGS300A07V002 | IGBT BOOSTER
| IGD400A12V007 | IGBT BOOSTER
| IGD400A07V001 | IGBT BOOSTER
| IGD450A12V001 | IGBT BOOSTER
| IGD600A07V001 | IGBT BOOSTER
| CA0200U250V001 | INPUT CAPACITOR FILTER
| CA0400U250V | INPUT CAPACITOR FILTER
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0400U250V | OUTPUT AC CAPACITOR
| CA0200U250V001 | OUTPUT AC CAPACITOR
| CA0200U250V001 | OUTPUT AC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC4700U450V | BOOSTER/INVERTER DC CAPACITOR
| CC0,68U850V | STATIC SWITCH MODULE CAPACITOR
| CC0002U1K0V001 | BOOSTER CLAMP CAPACITOR
| CC0002U1K0V001 | BOOSTER CLAMP CAPACITOR
| CC0002U700V | INVERTER CLAMP CAPACITOR
| CC0002U700V | INVERTER CLAMP CAPACITOR
| CC0004U700V | INVERTER CLAMP CAPACITOR
| CC0004U700V | INVERTER CLAMP CAPACITOR
| VC133D230VA004 | INVERTER FAN
| V-ACC007 | COND. AC 4µF 400V
| VC133D230VA004 | RECTIFIER FAN
| V-ACC007 | COND. AC 4µF 400V
| VC146D230VA001 | RECTIFIER FAN
| V-ACC016 | CONDENS. AC 8UF
| VC146D230VA001 | RECTIFIER INVERTER FAN
| V-ACC016 | CONDENS. AC 8UF
| VC146D230VA001 | RECTIFIER FAN
| V-ACC016 | CONDENS. AC 8UF
| VC146D230VA001 | INVERTER FAN
| V-ACC016 | CONDENS. AC 8UF
| VA120D230VA | STATIC SWITCH FAN
| VA150D230VA001 | STATIC SWITCH FAN
| VA150D230VA001 | STATIC SWITCH FAN
| VA150D230VA001 | STATIC/DC CAPACITORS SWITCH FAN
| VA150D230VA001 | STATIC SWITCH FAN
| VA080D024VC001 | POWER SUPPLY FAN
| VA080D230VA | POWER SUPPLY FAN
LEVEL 4
| PB629 | INPUT/OUTPUT EMI FILTER
| PB631 | BATTERY EMI FILTER
| TAH0500A001 | HALL EFFECT CURR. RADDR/INVERTER
| TAH0500A001 | HALL EFFECT CURR. INVERTER
| TAH0500A001 | HALL EFFECT CURR. INVERTER
| TAH500A002 | HALL EFFECT CURR. INVERTER
| TA400/0,2A | HALL EFFECT CURR. RADDR.
| TAH1000A001 | RECTIFIER/INVERTER TA HALL 1000A LEM
| TAH1000A002 | BATTERY TA HALL 1000A LEM

## UPSaver
Description : SPARE PART LIST UPS UPSAVER
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0006GGX38 | AUXILIARY FUSE
| FN0002GGX38 | AUXILIARY FUSE
| FN0006GGX38 | BYPASS REFERENCE FUSE
| FN0006GGX38 | BYPASS REFERENCE FUSE
| FN0006GGX38 | BYPASS REFERENCE FUSE
| FN01,6TX20 | BYPASS REFERENCE FUSE
| FN0004GGX38 | FANS FUSE
| FN0400AR | RECTIFIER INPUT FUSE
| FS0500AR | BYPASS INPUT FUSE
| FS0500AR | BATTERY FUSE
LEVEL 2
| PB432 | POWER SUPPLY
| PB432 | POWER SUPPLY
| PB514 | MAIN CONTROL LOGIC
| PB623 | MAIN CONTROL LOGIC
| PB516 | MAIN INTERFACE CARD
| PB620 | MAIN INTERFACE CARD
(1) | PB611 | MODULES PARALLEL CARD
| PB427 | INTERFACE CARD
| PB581 | COMMUNICATION CARD
| PB515 | AC/DC POWER SUPPLY
| PB563 | POWER SUPPLY INTERFACE CARD
| PB596 | POWER SUPPLY INTERFACE CARD
(2) | PB016V | BATTERY S/S FIRING CARD
(3) | PB495 | BATTERY S/S FIRING CARD
(4) | PB016V | STATIC SWITCH FIRING CARD
(4) | PB016R | STATIC SWITCH FIRING CARD
(4) | PB494 | STATIC SWITCH INTERFACE CARD
| PB496 | BACK PANEL
| PB426 | EXTERNAL INPUT CARD
| PB488 | EXTERNAL INPUT CARD
| PB425 | RELAY CARD
| PB369 | MODBUS CARD
| PB251 | SERIAL INTERFACE CARD
| PB322 | THERMAL PROBE ISOLATION CARD
(5) | PB583 | I/O PARALLEL CARD
(5) | PB591 | I/O PARALLEL CARD (one for each system)
(6) | PB621 | I/O SYNC CARD
(6) | PB622 | I/O SYNC CARD (one for each system)
| PB531 | LED CARD
| PTDTOUCHS003 | TOUCH SCREEN
| ASI85-MCL001 | BPU MODULE CONTROL LOGIC
| PB648 | MAIN INTERFACE CARD
| PB660 | MODULES PARALLEL CARD
LEVEL 3
(2) | SCRS0800A14V | BATTERY SCR
(2) | DS600A800V | BATTERY DIODE
(3) | SCR+D323A12V | BATTERY SCR
(4) | SCRD0323A12V | INVERTER S/S THYRISTOR
(4) | SCRD0323A12V | BYPASS S/S THYRISTOR
| SA-M330-1 | POWER MODULE
| CA0100U250V | INPUT FILTER CAPACITOR
(2) | VA200D230VA | BATTERY STATIC SWITCH FAN
(3) | VA150D230VA | BATTERY STATIC SWITCH FAN
(4) | VA150D230VA | INVERTER & BYPASS S/S FAN
| VA150D230VA | UPS INTERNAL FAN
| VA120D230VA | POWER MODULE FAN
| VA080D230VA | POWER MODULE FAN
ADDITIONAL SPARES
| PB288 | IN / OUT / BYPASS EMI FILTER
(2) | PB487 | BATTERY EMI FILTER
| FEMI052 | INPUT / OUTPUT EMI FILTER
| PB288 | BYPASSINPUT EMI FILTER
(3) | PB487 | BATTERY EMI FILTER
| PB440 | INPUT HF SUPPRESSOR CARD
(2) | TESW080 | BATTERY S/S THERMAL PROBE
| TESW080 | BATTERY S/S THERMAL PROBE
(4) | TESW080 | STATIC SWITCH THERMAL PROBE
| PTSONDA-13 | BATTERY THERMAL PROBE
| PTSONDA-18 | UPS THERMAL PROBE
| MTMM200VA004 | POWER SUPPLY TRANSFORMER
| TA1K5/0,1A | BYPASS / OUTPUT CURRENT TRANSDUCER
| TAH4000A001 | BYPASS CURRENT TRANSDUCER
| TA2K0/001A | OUTPUT CURRENT TRANSDUCER
(2) | TAH1000A001 | BATTERY CURRENT TRASNDUCER
| TA400/0,2A | OUTPUT CURRENT TRANSDUCER
(3) | TAH0300A001 | BATTERY CURRENT TRANSDUCER
| APLEV024C002 | BATTERY LAMP
| APLEV024C002 | BATTERY LAMP
| APLEV024C002 | BATTERY LAMP
(1) | PB580 for job _____
(2) | battery configuration centralized (CB)
(3) | battery configuration distributed (DB)
(4) | bypass configuration distributed (DSB)
(5) | Only for parallel
(6) | Only for sync-load
NOTA: le quantità suggerite per modulo BPU devono essere modulate sulla base del numero di moduli installati.
quantity suggested per each BPU must be defined according to the numbers of power module installed

## B9000 FXS 60-160 UP TO ET
Description : SPARE PARTS B9000 FXS 60-160 KVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38 | FANS FUSE
| FN0032GGX38 | INPUT CAPACITORS FUSE
| FS0315AR | RECTIFIER POWER FUSES
| FS0400AR | RECTIFIER POWER FUSES
| FS0150AR | BATTERY FUSE
| FS0200AR | BATTERY FUSE
| FS0250AR | BATTERY FUSE
| FS0315AR | BATTERY FUSE
| FS0400AR | BATTERY FUSE
| FN0200AR | STATIC SWITCH BYPASS FUSES
| FN0315AR | STATIC SWITCH BYPASS FUSES
| FN0400AR | STATIC SWITCH BYPASS FUSES
| FS0200AR | INVERTER BRIDGE FUSES
| FS0315AR | INVERTER BRIDGE FUSES
| FS0315AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB349 OBSOLETE | PB D-DSP - OBSOLETE @@@ REPLACED FROM PB553
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB246 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB246 | IGBT DRIVE INVERTER
| PB352 | IGBT DRIVE INVERTER
| PB295 OBSOLETE | OBSOLETE @@@REPLACED FROM PB542
| PB260-PB261 | SYSTEM CONTROL PANEL
| PB399 OBSOLETE | OBSOLETE @@@REPLACED FROM PB540
| PB314 | NPE -FIL
LEVEL 3
| SCRD0323A12V | RECTIFIER POWER MODULE
| SCRD0132A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRD0132A12V | BYPASS STAT.SWITCH THYRISTORS
| SCRD0323A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRD0323A12V | BYPASS STAT.SWITCH THYRISTORS
| IGD200A12V003 | IGBT RECTIFIER
| IGD300A12V003 | IGBT RECTIFIER
| IGD400A12V003 | IGBT RECTIFIER
| IGD200A12V003 | IGBT INVERTER POWER BRIDGE
| IGD300A12V003 | IGBT INVERTER POWER BRIDGE
| IGD400A12V003 | IGBT INVERTER POWER BRIDGE
| IGD300A12V003 | IGBT INVERTER POWER BRIDGE
| IGD400A12V003 | IGBT INVERTER POWER BRIDGE
| VC133D-KIT005 | FAN
| VC133D-KIT04 | FAN
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CA0200U250V | AC FILTER CAPACITORS 200uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CC0002U1K0V | DC CAPACITORS 2uF 1000 V
| DIS140A15V | DIODE SINGLE 140A 1500V
ADDITIONAL SPARES
| FEMI020 | INPUT RFI FILTER
| PB046 | BYPASS-OUTPUT RFI FILTER
| PB040 | BATTERY RFI FILTER
| TAH0300A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| PB251 | SERIAL INTERFACE
| PB218 | RELAY CARD

## B9000 FXS 60-160 FROM TO A1
Description : SPARE PARTS B9000 FXS 60-160 KVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38 | FANS FUSE
| FN0032GGX38 | INPUT CAPACITORS FUSE
| FS0150AR | RECTIFIER POWER FUSES
| FS0200AR | RECTIFIER POWER FUSES
| FS0315AR | RECTIFIER POWER FUSES
| FS0400AR | RECTIFIER POWER FUSES
| FS0150AR | BATTERY FUSE
| FS0200AR | BATTERY FUSE
| FS0250AR | BATTERY FUSE
| FS0315AR | BATTERY FUSE
| FN0150AR | STATIC SWITCH BYPASS FUSES
| FN0200AR | STATIC SWITCH BYPASS FUSES
| FN0315AR | STATIC SWITCH BYPASS FUSES
| FN0400AR | STATIC SWITCH BYPASS FUSES
| FS0200AR | INVERTER BRIDGE FUSES
| FS0315AR | INVERTER BRIDGE FUSES
| FS0315AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB553 | MAIN CONTROL LOGIC
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB246 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB246 | IGBT DRIVE INVERTER
| PB352 | IGBT DRIVE INVERTER
| PB542 | PRECHARGE THYRISTOR CARD
| PB260-PB261 | SYSTEM CONTROL PANEL
| PB540 | UPS INTERFACE CARD
| PB314 | NPE -FIL
LEVEL 3
| SCRD0132A12V001 | RECTIFIER POWER MODULE
| SCRD0323A12V | RECTIFIER POWER MODULE
| SCRD0132A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRD0132A12V | BYPASS STAT.SWITCH THYRISTORS
| SCRD0323A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRD0323A12V | BYPASS STAT.SWITCH THYRISTORS
| IGS200A12V001 | IGBT RECTIFIER POSITIVE
| IGS200A12V002 | IGBT RECTIFIER NEGATIVE
| IGS300A12V001 | IGBT RECTIFIER POSITIVE
| IGS300A12V002 | IGBT RECTIFIER NEGATIVE
| IGS400A12V003 | IGBT RECTIFIER POSITIVE
| IGS400A12V004 | IGBT RECTIFIER NEGATIVE
| IGD200A12V003 | IGBT INVERTER POWER BRIDGE
| IGD300A12V003 | IGBT INVERTER POWER BRIDGE
| IGD400A12V003 | IGBT INVERTER POWER BRIDGE
| IGD300A12V003 | IGBT INVERTER POWER BRIDGE
| IGD400A12V003 | IGBT INVERTER POWER BRIDGE
| VC133D-KIT005 | FAN
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CC3900U500V | DC CAPACITORS 3900uF 500V
| CA0200U250V | AC FILTER CAPACITORS 200uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CC0002U1K0V | DC CAPACITORS 2uF 1000 V
| DIS140A15V | DIODE SINGLE 140A 1500V
ADDITIONAL SPARES
| FEMI020 | INPUT RFI FILTER
| PB046 | BYPASS-OUTPUT RFI FILTER
| PB040 | BATTERY RFI FILTER
| TAH0300A003 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| PB251 | SERIAL INTERFACE
| PB218 | RELAY CARD
Термореле TESW090
РВ003

## B9000 FXS 200-300 UP TO EH
Description : SPARE PARTS B9000 FXS 200-300 KVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38 | FANS FUSE
| FN0032GGX38 | INPUT CAPACITORS FUSE
| FS0400AR | RECTIFIER POWER FUSES
| FS0630AR | RECTIFIER POWER FUSES
| FN0500AR | STATIC SWITCH BYPASS FUSES
| FN0800AR | STATIC SWITCH BYPASS FUSES
| FS0500AR | BATTERY FUSES
| FS0630AR | BATTERY FUSES
| FS0315AR | INVERTER BRIDGE FUSES
| FS0315AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB349 | INVERTER STATIC SWITCH CONTROL LOGIC 3/F
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB246 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB394 | IGBT DRIVE INVERTER
| PB295 | PRECHARGE THYRISTOR CARD
| PB353-PB354 | SYSTEM CONTROL PANEL
| PB399 | UPS INTERFACE CARD
| PB314 | NPE -FIL
LEVEL 3
| SCRD0323A12V | RECTIFIER POWER MODULE
| SCRD0323A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRD0323A12V | BYPASS STAT.SWITCH THYRISTORS
| IGD300A12V003 | IGBT RECTIFIER
| IGD400A12V003 | IGBT RECTIFIER
| IGS600A12V004 | IGBT INVERTER POWER BRIDGE
| IGS600A12V004 | IGBT INVERTER POWER BRIDGE
| VC133D-KIT005 | FAN
| CC3900U500V | DC CAPACITORS 3900uF 500 V
| CC3900U500V | DC CAPACITORS 3900uF 500 V
| CC3900U500V | DC CAPACITORS 3900uF 500 V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CC0002U1K0V | BOOSTER CLAMP CAPACITORS 2uF 1000 V
| PB387 | INVERTER CLAMP CARD
| PB388 | INVERTER CLAMP CARD
| DIS140A15V | DIODE SINGLE 140A 1500V
| DIS140A15V | DIODE SINGLE 140A 1500V
ADDITIONAL SPARES
| FEMI021 | INPUT RFI FILTER
| FEMI022 | INPUT RFI FILTER
| FEMI023 | INPUT RFI FILTER
| PB288 | BYPASS-OUTPUT RFI FILTER
| PB269 | BATTERY RFI FILTER
| TAH0300A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| PB251 | SERIAL INTERFACE
| PB218 | RELAY CARD

## B9000 FXS 200-300 FROM TO B1
Description : SPARE PARTS B9000 FXS 200-300 KVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0004GGX38 | FANS FUSE
| FN0032GGX38 | INPUT CAPACITORS FUSE
| FS0400AR | RECTIFIER POWER FUSES
| FS0500AR | RECTIFIER POWER FUSES
| FS0630AR | RECTIFIER POWER FUSES
| FN0400AR | STATIC SWITCH BYPASS FUSES
| FN0500AR | STATIC SWITCH BYPASS FUSES
| FN0630AR | STATIC SWITCH BYPASS FUSES
| FS0500AR | BATTERY FUSES
| FS0630AR | BATTERY FUSES
| FS0315AR | INVERTER BRIDGE FUSES
| FS0315AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB553 | INVERTER STATIC SWITCH CONTROL LOGIC 3/F
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB246 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB394 | IGBT DRIVE INVERTER
| PB542 | PRECHARGE THYRISTOR CARD
| PB353-PB354 | SYSTEM CONTROL PANEL
| PB540 | UPS INTERFACE CARD
| PB314 | NPE -FIL
LEVEL 3
| SCRD0323A12V | RECTIFIER POWER MODULE
| SCRD0323A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRD0323A12V | BYPASS STAT.SWITCH THYRISTORS
| IGs300A12V001 | IGBT RECTIFIER
| IGs300A12V002 | IGBT RECTIFIER
| IGD450A12V001 | IGBT RECTIFIER
| IGS600A12V004 | IGBT INVERTER POWER BRIDGE
| IGS600A12V004 | IGBT INVERTER POWER BRIDGE
| VC133D-KIT005 | FAN
| CC3900U500V | DC CAPACITORS 3900uF 500 V
| CC3900U500V | DC CAPACITORS 3900uF 500 V
| CC3900U500V | DC CAPACITORS 3900uF 500 V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CC0002U1K0V | BOOSTER CLAMP CAPACITORS 2uF 1000 V
| PB387 | INVERTER CLAMP CARD
| PB388 | INVERTER CLAMP CARD
| DIS140A15V | DIODE SINGLE 140A 1500V
| DIS140A15V | DIODE SINGLE 140A 1500V
ADDITIONAL SPARES
| FEMI021 | INPUT RFI FILTER
| FEMI022 | INPUT RFI FILTER
| FEMI023 | INPUT RFI FILTER
| PB288 | BYPASS-OUTPUT RFI FILTER
| PB269 | BATTERY RFI FILTER
| TAH0300A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH0500A001 | HALL EFFECT CURRENT TRANSFORMER
| PB251 | SERIAL INTERFACE
| PB218 | RELAY CARD

## B9600 FXS 400-800
Description : SPARE PARTS B9600 FXS 400÷800 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0004GGX38 | FANS FUSE
| FN0004GGX38 | FANS FUSE
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0004GGX38 | FANS FUSE
| FN0006GGX38 | SERVICE TRANSFORMER FUSE
| FN0050GGX51 | INPUT CAPACITORS FUSE
| FN0200AR | INPUT CAPACITORS FUSE
| FS700URD | RECTIFIER POWER FUSES
| FS0900AR | STATIC SWITCH BYPASS POWER FUSES
| FS1250AR | RECTIFIER/STATIC SWITCH BYPASS POWER FUSES
| FS0900AR | RECTIFIER POWER FUSES
| FS1600AR | STATIC SWITCH BYPASS POWER FUSES
| FS0900AR | BATTERY FUSE
| FS1000AR | BATTERY FUSE
| FS1250AR | BATTERY FUSE
| FS1600AR | BATTERY FUSE
| FS700URD | INVERTER BRIDGE FUSES
| FS0900AR | INVERTER BRIDGE FUSES
| FS1250AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB349 | MAIN CONTROL LOGIC
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB352 | IGBT DRIVE RECTIFIER
| PB352 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB299 | POWER SUPPLY
| PB456 | IGBT DRIVE INVERTER
| PB339 | IGBT DRIVE INVERTER
| PB350 | IGBT DRIVE INVERTER
| PB295 | PRECHARGE THYRISTOR CARD
| PB353-PB354 | SYSTEM CONTROL PANEL /E
| PB400 OBSOLETE | PB INTH-UPS-EVO - OBSOLETE @@@REPLACED FROM PB541
| PB233 | IGBT SEMIX INTERFACE CARD
| PB314 | NPE -FIL
LEVEL 3
| SCRD0500A12V | RECTIFIER POWER MODULE
| SCRD0500A12V | RECTIFIER POWER MODULE
| IGD400A12V005 | NEGATIVE IGBT RECTIFIER
| IGD400A12V006 | POSITIVE IGBT RECTIFIER
| IGD400A12V001 | IGBT RECTIFIER
| IGD0910A12V | IGBT RECTIFIER
| IGS600A12V003 | IGBT INVERTER POWER BRIDGE
| IGS600A12V003 | IGBT INVERTER POWER BRIDGE
| IGS800A12V002 | IGBT INVERTER POWER BRIDGE
| SCRD0323A12V | INVERTER THYRISTORS
| SCRD0500A12V | BYPASS STATIC SWITCH THYRISTORS
| SCRD0500A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRS0800A14V | BYPASS STAT.SWITCH THYRISTORS
| SCRS0800A14V | INVERTER&BYPASS STAT.SWITCH THYRISTORS
| VC133D-KIT005 | INVERTER BRIDGE AND RECTIFIER FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FAN
| VC133D-KIT005 | RECTIFIER AND INVERTER BRIDGE FANS
| VC133D-KIT005 | RECTIFIER AND INVERTER BRIDGE FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FANS
| VA150D230VA001 | DC CAPACITORS FANS / INDUCTOR FANS
| VA150D230VA001 | RECT. DC CAPS / INV. DC CAPS / INDUCTOR FANS
| VA150D230VA001 | DC CAPACITORS FANS / INDUCTOR FANS
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CA0400U250V | INPUT AC FILTER CAPACITORS 400uF-250V
| CC0005U1K0V | CLAMP CAPACITORS
| CC0005U1K0V | CLAMP CAPACITORS
| CC0002U1K0V001 | RECTIFIER CLAMP CAPACITORS
| CC0005U1K0V | INVERTER CLAMP CAPACITORS
| DIS140A15V | INVERTER PROTECTION DIODES
| DIS140A15V | INVERTER PROTECTION DIODES
ADDITIONAL SPARES
| PB288 | STATIC BY-PASS/OUTPUT RFI FILTER
| PB269 | BATTERY RFI FILTER
| TAH1000A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH1000A001 | HALL EFFECT CURRENT TRANSFORMER
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE
NOTE:
For the serial number between EN1P44001 and EN1P50008 please contact the "Service department"

## B9600 FXS 400 "UP TO EN3P40003"
Description : SPARE PARTS B9600 FXS 400 UP TO EN3P40003
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0004GGX38 | FANS FUSE
| FN0050GGX51 | INPUT CAPACITORS FUSE
| FS0900AR | RECTIFIER/STATIC SWITCH BYPASS POWER FUSES
| FS0900AR | BATTERY FUSE
| FS0900AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB349 | MAIN CONTROL LOGIC
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB352 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB339 | IGBT DRIVE INVERTER
| PB295 | PRECHARGE THYRISTOR CARD
| PB353-PB354 | SYSTEM CONTROL PANEL /E
| PB400 OBSOLETE | PB INTH-UPS-EVO -OBSOLETE @@@REPLACED FROM PB541
| PB541 | PB INTH-UPS-EVO3
| PB314 | NPE -FIL
LEVEL 3
| SCRD0500A12V | RECTIFIER POWER MODULE
| IGD400A12V001 | IGBT RECTIFIER
| IGS600A12V | IGBT INVERTER POWER BRIDGE
| SCRD0500A12V | INVERTER AND BYPASS STATIC SWITCH THYRISTORS
| VC133D-KIT005 | INVERTER BRIDGE AND RECTIFIER FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FAN
| VA150D230VA001 | DC CAPACITORS FANS / INDUCTOR FANS
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CC0005U1K0V | CLAMP CAPACITORS
| DIS140A15V | INVERTER PROTECTION DIODES
ADDITIONAL SPARES
| PB288 | STATIC BY-PASS/OUTPUT RFI FILTER
| PB269 | BATTERY RFI FILTER
| TAH1000A001 | HALL EFFECT CURRENT TRANSFORMER
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE
NOTE:
For the serial number between EN1P44001 and EN1P50008 please contact the "Service department"

## B9600 FXS 400-800 "FROM C1____"
Description : SPARE PARTS B9600 FXS 400÷800 kVA
| BORRI Code | DESCRIPTION
LEVEL 1
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0004GGX38 | FANS FUSE
| FN0004GGX38 | FANS FUSE
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0002GGX38 | STATIC SWITCH FAN FUSE
| FN0004GGX38 | FANS FUSE
| FN0006GGX38 | SERVICE TRANSFORMER FUSE
| FN0050GGX51 | INPUT CAPACITORS FUSE
| FN0200AR | INPUT CAPACITORS FUSE
| FS700URD | RECTIFIER POWER FUSES
| FS0900AR | STATIC SWITCH BYPASS POWER FUSES
| FS1250AR | RECTIFIER/STATIC SWITCH BYPASS POWER FUSES
| FS0900AR | RECTIFIER POWER FUSES
| FS1600AR | STATIC SWITCH BYPASS POWER FUSES
| FS0900AR | BATTERY FUSE
| FS1000AR | BATTERY FUSE
| FS1250AR | BATTERY FUSE
| FS1600AR | BATTERY FUSE
| FS700URD | INVERTER BRIDGE FUSES
| FS0900AR | INVERTER BRIDGE FUSES
| FS1250AR | INVERTER BRIDGE FUSES
LEVEL 2
| PB553 | MAIN CONTROL LOGIC
| PB004 | INVERTER ACTUAL VALUE 3/F
| PB300 | VOLTAGE REFERENCE 3/F
| PB352 | IGBT DRIVE RECTIFIER
| PB352 | IGBT DRIVE RECTIFIER
| PB016V | 2SCR FIRING INVERTER
| PB016R | 2SCR FIRING BYPASS
| PB023 | RECTIFIER THYRISTORS FIRING
| PB023 | RECTIFIER THYRISTORS FIRING
| PB342 | FREE CONTACT INTERFACE
| PB299 | POWER SUPPLY
| PB299 | POWER SUPPLY
| PB456 | IGBT DRIVE INVERTER
| PB339 | IGBT DRIVE INVERTER
| PB350 | IGBT DRIVE INVERTER
| PB542 | PRECHARGE THYRISTOR CARD
| PB353-PB354 | SYSTEM CONTROL PANEL /E
| PB541 | UPS INTERFACE CARD
| PB541 | UPS INTERFACE CARD
| PB233 | IGBT SEMIX INTERFACE CARD
| PB314 | NPE -FIL
LEVEL 3
| SCRD0500A12V | RECTIFIER POWER MODULE
| SCRD0500A12V | RECTIFIER POWER MODULE
| IGD400A12V005 | NEGATIVE IGBT RECTIFIER
| IGD400A12V006 | POSITIVE IGBT RECTIFIER
| IGD400A12V001 | IGBT RECTIFIER
| IGD0910A12V | IGBT RECTIFIER
| IGS600A12V003 | IGBT INVERTER POWER BRIDGE
| IGS600A12V003 | IGBT INVERTER POWER BRIDGE
| IGS800A12V002 | IGBT INVERTER POWER BRIDGE
| SCRD0323A12V | INVERTER THYRISTORS
| SCRD0500A12V | BYPASS STATIC SWITCH THYRISTORS
| SCRD0500A12V | INVERTER STATIC SWITCH THYRISTORS
| SCRS0800A14V | BYPASS STAT.SWITCH THYRISTORS
| SCRS0800A14V | INVERTER&BYPASS STAT.SWITCH THYRISTORS
| VC133D-KIT005 | INVERTER BRIDGE AND RECTIFIER FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FAN
| VC133D-KIT005 | RECTIFIER AND INVERTER BRIDGE FANS
| VC133D-KIT005 | RECTIFIER AND INVERTER BRIDGE FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FANS
| VA200D230VA | INVERTER AND BYPASS STATIC SWITCH FANS
| VA150D230VA001 | DC CAPACITORS FANS / INDUCTOR FANS
| VA150D230VA001 | RECT. DC CAPS / INV. DC CAPS / INDUCTOR FANS
| VA150D230VA001 | DC CAPACITORS FANS / INDUCTOR FANS
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CC3900U500V | DC CAPACITORS 3900 uF 350V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0400U250V | AC FILTER CAPACITORS 400uF-250V
| CA0200U250V | INPUT AC FILTER CAPACITORS 200uF-250V
| CA0400U250V | INPUT AC FILTER CAPACITORS 400uF-250V
| CC0005U1K0V | CLAMP CAPACITORS
| CC0005U1K0V | CLAMP CAPACITORS
| CC0002U1K0V001 | RECTIFIER CLAMP CAPACITORS
| CC0005U1K0V | INVERTER CLAMP CAPACITORS
| DIS140A15V | INVERTER PROTECTION DIODES
| DIS140A15V | INVERTER PROTECTION DIODES
ADDITIONAL SPARES
| PB288 | STATIC BY-PASS/OUTPUT RFI FILTER
| PB269 | BATTERY RFI FILTER
| TAH1000A001 | HALL EFFECT CURRENT TRANSFORMER
| TAH1000A001 | HALL EFFECT CURRENT TRANSFORMER
| PB218 | RELAY CARD
| PB251 | SERIAL INTERFACE
NOTE:
For the serial number between EN1P44001 and EN1P50008 please contact the "Service department"